## Instructions
Please follow these instructions when filling out your steam trap survey to expedite incentive payments and reduce processing delays. Questions? Contact us at 877.886.4239.
For Customers: If steam trap survey will be completed internally, your facility's steam trap survey methodology must be approved by the program.
For Contractors: Please fill this section out if you have not previously submitted a steam trap survey for a Nicor Gas rebate application. Your steam trap survey methodology must be approved by the program.
1) Please describe process of tagging steam traps | Traps Surveyed
2) Please describe process of inspecting steam traps |  | OK | 0
3) Are these details logged during steam trap survey - e.g. inlet/outlet size, orifice size, manufacturer and model of steam trap |  | Failed Open | 0
4) Did the technician use a heat sensing infrared thermometer gun to check inlet temperature versus outlet temperature? |  | Failed Closed | 0
5) What testing equipment was used to test steam trap operation? E.g. UE Systems Ultraprobe 9000ATEX MHP Digital Ultrasonic Probe, FLIR Model E4 Thermal Image Camera with MSX, Fluke Model 568EX Intrinsically Safe Infrared Thermometer
6) Did the technician conclude whether the steam trap is functional, failed open, failed close, or leaking through based on the methods described above?
Steam Trap Survey Contact
Name
Phone
Email

## Steam Trap Survey Template
Business steam trap survey and application template
Must be completed for all industrial steam trap applications
Business Name
Address
City, State, ZIP
Survey Date
Steam Trap Survey Section | [8 empty] | Steam Trap Application Section
Plant Location/Tag # | Operating Pressure (psig) | Make | Model | Steam Trap Type | Inlet Size | Orifice | Failure Mode | Annual Hours of Operation | Per unit installed cost | Invoice number(s) | Make | Model | Purchase Date | Install Date | Rebate
Please enter the steam trap's tag #. This is to be matched with the itemized invoice when the steam trap repair/replacement project is completed. | Please enter steam trap's inlet pressure. | Please enter the steam trap's make or manufacturer. | Please state the steam trap's enter the model number. | This field will automatically populate the steam trap type based on the psig. | Please enter the steam trap's inlet size. | Please enter the steam trap's orifice size. | Please select the appropriate failure mode from the drop-down menu. Options include: O: Failed open, blow through, leaking C: Failed closed, cold, plugged OK: Not failed | Please enter facility's hours of operation | Please enter the cost of repairing and replacing steam trap based on itemized invoice. | Please enter the invoice(s) where materials used to repair/replace the steam trap are itemized. | Please enter the manufacturer of the new steam trap or enter the manufacturer of the steam trap's repair parts. | Please enter the model number of the new steam trap or enter the model of the steam trap's repair part(s). | Please enter the purchase date on the invoice(s) listed on column M. | State date steam trap was repaired/ replaced | Invoices must be provided for materials and labor costs

## Look ups (hidden)
Failure Mode
O
C
OK