## Slide 1: Asset Protection – Damage Prevention

## Slide 2: Agenda
The Issue
What We Are Doing
To Help
How We Can
Work Together

## Slide 3: Overview
Recommendation: Share data here on incidents that were, statistically speaking, preventable – NCIs, etc.
Damage Prevention is a shared responsibility

## Slide 4: The Issue

## Slide 5: The Issue
Asset Protection Data here

## Slide 6: The Issue
Let’s work together to avoid:
Damages
Customer interruptions
Road closures
Loss of life
Property damage
Equipment damage
Lawsuits
Potential liabilities

## Slide 7: Reducing Risks
Steps to reducing overall risk of conflicts and/or damage:
Accurate locating
Use of the APWA color code
Response to PRIS by effective date
Compliance with Common Ground Alliance (CGA) Best Practices

## Slide 8: Dig with C.A.R.E.
Contact 811 before digging
Allow time needed to mark
Respect the marks
Excavate carefully

## Slide 9: What we are doing to help

## Slide 10: Contact 811 before you Dig!
The Law: Contact 811 before using mechanized equipment to excavate.
  The waiting period is at least 3 business days.
  Check the Positive Response Information System (PRIS)
    Through the Juliebeforeyoudig.com or via 888.Nicor4U(642.6748) (Ticket Status button in top menu)
Utility Companies are required to become members of xxxxxx.

## Slide 11: Gotta Dig? Gotta Call!
Nicor Gas Safe Digging web page

## Slide 12: Cross Bore Safety

## Slide 13: Cross Bore Best Practices
Safety for Municipalities & Utility Owners
Project Phase | Key Installer Actions | Risk Reduced
Pre-Construction | 811 One-Call, CCTV sewer inspections, potholing at crossings | Unknown sewer laterals and depth conflicts
Installation | Monitor bore path, stop on resistance, verify anomalies | Unintentional utility penetration during drilling
Post-Construction | CCTV verification, GIS documentation, tagging/locate cards | Undetected cross bores and future maintenance strikes
Ongoing | Crew training, coordination with sewer operators, QA/QC | Repeat incidents and systemic safety failures

## Slide 14: How We Can Work Together

## Slide 15: Help Spread the Word!
Nicorgas.com/SafeDiggingRoadShow

## Slide 16: Q&A

## Slide 17: Contact Info
Name: _________________________________
Location: _______________________________
Email: _________________________________
Telephone: _____________________________
For more info visit: Nicorgas.com/SafeDiggingRoadShow

## Slide 19: Cross Bore Best Practices
Safety for Property Owners